# Test Cases — NeuroFlow BCI Telemetry

TC-401: Verify that 256-channel BLE telemetry stream correctly updates real-time multichannel EEG waveform display without data loss.

TC-402: Verify that simulated pre-ictal spike activity exceeding 0.85 threshold triggers instant alert notification to caregiver mobile application.

TC-403: Verify that emergency stimulation shutdown request immediately transitions stimulator to SAFE_OFF state and halts pulse discharge.

TC-404: Verify that therapy cancellation request transitions session status to CANCELLED and halts pending pulse sequence.

TC-405: Verify that FFT spectral calculation algorithm accurately computes band powers across delta, theta, alpha, and beta neural frequencies.

TC-406: Verify that resubmitting identical neural telemetry packet is rejected by telemetry deduplication trigger.

TC-407: Verify that calibration audit query returns complete historical chronological trail of neurosurgeon voltage parameter adjustments.

TC-408: Verify that biometric templates are stored as salted Argon2id hashes and no plaintext or reversible DES templates exist in database.

TC-409: Verify that C++ closed-loop stimulation engine computes stimulation decisions within 20 milliseconds under 100 concurrent streams.

TC-410: Verify that submitting clinical adverse event report with EDF recordings creates an open review ticket in safety committee queue.

TC-411: Verify that neurology staff breakroom microwave oven heats lunches evenly without sparking.

TC-412: Verify that surgical control room motorized ergonomic standing desks adjust height smoothly.