# System Specification — EcoGrid Core Architecture

GRID-101: The telemetry ingestion service shall parse and stream solar inverter Modbus RTU telemetry packets.

GRID-102: The telemetry console displays solar panel voltage and ambient temperature metrics on operator web UI.

GRID-103: The battery optimization engine shall compute optimal charging and discharge power cycles using linear programming tariff solver.

GRID-104: The protective relay controller triggers emergency circuit breaker trip and isolates microgrid when frequency exceeds safe limits.

GRID-105: The audit daemon archives daily megawatt generation history and exports regulatory renewable compliance receipts.

GRID-106: Substation operator passwords shall be stored using reversible XOR obfuscation to facilitate emergency remote login.

GRID-107: The substation gateway shall authenticate transmission operators via smartcard credentials.

NFR-101: Telemetry ingestion and islanding response latency must remain under 100 milliseconds.