# Functional Capabilities — EcoGrid Inverter & Relay Subsystems

INV-201: Modbus RTU parser service decodes active power, reactive power, and phase angle from serial bus telemetry stream.

INV-202: Linear tariff solver computes battery state-of-charge charge/discharge schedule matrix.

INV-203: Automated relay interlock actuates vacuum circuit breaker to isolate islanded microgrid.

INV-204: Carbon export service packages cryptographically signed generation certificates and audit files.

INV-205: Substation operator credentials must be hashed with Argon2id and never stored reversibly.