# Software Requirements Specification — BioSynth Bioreactor Control

FR-101: The operator console displays dissolved oxygen percentage statistics and charts on the UI.

FR-102: The gas blending controller adjusts mass flow valves to maintain dissolved oxygen setpoints.

FR-103: The accounting service calculates raw media reagent purchase costs.

FR-104: The spectrophotometry module computes biomass concentration from optical absorption measurements.

FR-105: The safety valve controller actuates relief solenoid and halts heating elements during overpressure condition.

FR-106: The audit logger archives batch run metrics and exports GMP compliance verification receipts.

FR-107: The pump command handler shall identify and filter duplicate media feed pulses matching sequence buffer.

FR-108: Bioreactor operator PINs shall be stored using reversible XOR obfuscation to facilitate technician override.

NFR-101: Dissolved oxygen control loop feedback latency must remain under 15 milliseconds.