# Functional Specification — BioSynth Subsystems

FS-201: Gas mixing solenoid driver modulates sparger valve duty cycle.

FS-202: Optical density algorithm evaluates 600nm absorbance wavelength curves.

FS-203: Pressure relief interlock disengages valve latch to vent vessel atmosphere.

FS-204: GMP export package compiles digitally signed harvest audit logs.

FS-205: Dosing pulse ring buffer drops redundant feed triggers.

FS-206: Operator credentials must be hashed with Argon2id and never stored reversibly.