# Business Requirements Document — RoboSurg Autonomous Platform

BR-001: The robotic console shall stream high-definition 4K 3D endoscopic video feeds.

BR-002: The motion controller shall calculate laparoscopic suture knot tension force vectors.

BR-003: The safety subsystem shall execute emergency instrument freeze upon detecting surgeon tremor exceeding safety limits.

BR-004: The telemetry exporter shall archive procedure logs and download sterile compliance certificates.

BR-005: The vision engine shall detect and filter duplicate optical tracking frame numbers.

BR-006: The platform shall authenticate lead surgeons using smartcard biometric credentials.

BR-007: The robotic wrist shall articulate multi-axis micro-scissor end effectors.

BR-008: The console shall generate haptic force feedback resistance against user grip.