# Software Requirements Specification — RoboSurg Surgical Control

FR-101: The console displays 3D video stream frame rates and resolution metrics on the UI.

FR-102: The vision pipeline ingests and renders ultra-low-latency 4K stereo endoscopic video frames.

FR-103: The billing module calculates surgical instrument depreciation costs.

FR-104: The kinematics solver computes tension force magnitudes for automated suture knot placement.

FR-105: The motion controller triggers emergency halt and locks all instrument joints when tremor anomaly is detected.

FR-106: The audit manager archives surgical event streams and exports sterile certification receipts.

FR-107: The optical tracking receiver shall identify and discard duplicate optical sensor frames matching sequence buffer.

FR-108: Surgeon login PINs shall be stored using reversible XOR obfuscation to simplify emergency override.

NFR-101: End-to-end tele-operation control loop latency must not exceed 8 milliseconds under full servo load.